## 1;Test SVI FF New features
TestCaseId | Title | TestStep | StepAction | StepExpected | TestPointId | Configuration | Tester | Outcome | Comment
13 | Functional testing - default values |  |  |  | 6:0 | Windows 10 | Mihail Milev
|  | 1 | Open NI FBUS Dialog utility | NI FBUS Dialog utility is opened. "Open Descriptors" tree is displayed.
|  | 2 | Open "RB.Restart" parameter for writing | A dialog Box with current value "1" is displayed.
|  | 3 | Change "RB.Restart" parameter to "Restart with defaults (3)" and select "Write" button. | A message "Call completed successfully" appears and the value of "RB.Restart" returns to "1"
|  | 4 | Read "AI1.L_TYPE" parameter | The value of "AI1.L_TYPE" is "Direct (1)"
|  | 5 | Read "AI1.Out_Scale" parameter | The value of "AI1.Out_Scale" is "psi"
|  | 6 | Read "AI2.L_TYPE" parameter | The value of "AI2.L_TYPE" is "Direct (1)"
|  | 7 | Read "AI2.Out_Scale" parameter | The value of "AI2.Out_Scale" is "psi"
|  | 8 | Read "AI3.L_TYPE" parameter | The value of "AI3.L_TYPE" is "Direct (1)"
|  | 9 | Read "AI3.Out_Scale" parameter | The value of "AI3.Out_Scale" is "psi"
|  | 10 | Read "AO.IO_Opts" parameter | The value of "AO.IO_Opts" is "PV (process value) for BKCAL_OUT (0x200)"
|  | 11 | Read "AO.SHED_OPT" parameter | The value of "AO.SHED_OPT" is "NormalShed_NormalReturn"
|  | 12 | Read "PID1.BYPASS" parameter | The value of "PID1.BYPASS is "1"
|  | 13 | Read "PID1.GAIN" parameter | The value of "PID1.GAIN" is "1"
|  | 14 | Read "PID1. SHED_OPT" parameter | The value of "PID1.SHED_OPT" is "NormalShed_NormalReturn"
|  | 15 | Read "PID2.BYPASS" parameter | The value of "PID2.BYPASS is "1"
|  | 16 | Read "PID2.GAIN" parameter | The value of "PID2.GAIN" is "1"
|  | 17 | Read "PID2. SHED_OPT" parameter | The value of "PID2.SHED_OPT" is "NormalShed_NormalReturn"
|  | 18 | Read "IS.SELECT_TYPE" parameter | The value of "IS.SELECT_TYPE" is "First Good (1)"
|  | 19 | Read "OS.LOCKVAL" parameter | The value of "OS.LOCKVAL" is "No Lock (1)"
|  | 20 | Read "OS.IN_ARRAY" parameter | The values of "OS.IN_ARRAY" are "0,50,50,100"
|  | 21 | Read "OS.OUT_ARRAY" parameter | The values of "OS.IN_ARRAY" are "0,50,50,100"
|  | 22 | Read "CS.SELECT_TYPE" parameter | The value of "CS.SELECT_TYPE" is "Middle (4)"
|  | 23 | Read "AR.ARITH_TYPE" parameter | The value of "AR.ARITH_TYPE" is "Average (6)"