## Sheet1
TestCaseId | Title | TestStep | StepAction | StepExpected | TestPointId | Configuration | Tester | Outcome | Comment
| Setpoint timeout |  |  |  |  | Windows 7
|  | 1 | Configure TB.XD_FSTATE
|  | 1.1 | How ?
|  | 1.2 | Set 'timeout' to 1. | Timeout is 1.
|  | 1.3 | Set 'option' to 'hold last value'. | "Option" is 'hold last value'.
|  | 2 | Ensure AO FB is not connected () | Device is empty.
|  | 3 | Make TB mode AUTO | TB mode is AUTO.
|  | 4 | Reset device
|  | 4.1 | How ?
|  | 5 | Verify 'FINAL_VALUE' has 'Uncertain' status. | "FINAL_VALUE" status is 'Uncertain'.
|  | 6 | Verify value maintains the position for about 15-16 sec.
|  | 7 | Verify the fault 'SP LOST' is set.
|  | 8 | Verify the valve goes to de-energized position. | Both 'AirToOpen' and 'AirToClose' are ???
|  | 9 | Set 'FINAL_VALUE' status to 'GOOD'.
|  | 9.1 | How ?
|  | 10 | Verify that valve returns under control. | Valve is under control.
|  | 11 | Set 'FINAL_VALUE' status to 'BAD'.
|  | 12 | Verify 'FINAL_VALUE' has 'Uncertain' status.
|  | 13 | Verify valve maintains the position for about 3-4sec.
|  | 14 | Verify the fault 'SP LOST' is set.
|  | 15 | Verify the valve goes to de-energized position. | Both 'AirToOpen' and 'AirToClose' are ???